## Benchmark Sampling
Data Table 4-9, 2012 National Pollutant Discharge Elimination System Stormwater Monitoring Benchmark Sample Data
Outfall E-01 | Sample Date | 2012-03-01 | E-01 visual only effective 4/1/12.
Analyte | Units | Results
TSS | mg/L | 14
Ammonia | mg/L | 0.14 | Ammonia - N (phenate)
COD | mg/L | 16
Ag | mg/L | 0
As | mg/L | 0
Cd | mg/L | 0.0001
Hg | mg/L | 1e-05
Pb | mg/L | 0.001
Se | mg/L | 0
Cyanide | mg/L | 0.005
Outfall E-06 | Sample Date | 2012-05-29 | E-06 visual only effective 7/1/12.
Analyte | Units | Results
TSS | mg/L | 31
Ammonia | mg/L | 0.05 | Ammonia - N (phenate)
COD | mg/L | 89
Ag | mg/L | 0
As | mg/L | 0
Cd | mg/L | 0.0001
Hg | mg/L | 1e-05
Pb | mg/L | 0.001
Se | mg/L | 0
Cyanide | mg/L | 0.005
Outfall G-10A | Sample Date | 2012-06-11
Analyte | Units | Results
FEC | Col/100mL | 1600
Outfall G-21 | Sample Date | 2012-03-01 | 2012-05-09 | 2012-05-29 | 2012-09-18
Analyte | Units | Results
TSS | mg/L | 426 | 53 | 16 | 63
Outfall H-02A | Sample Date | 2012-03-01 | 2012-05-29 | H-02A visual only effective 7/1/12.
Analyte | Units | Results
Ammonia | mg/L | 0.034 | 0.01 | Nitrate-Nitrite - N
Zn | mg/L | 0.0206 | 0.0275
Outfall H-04B | Sample Date | 2012-03-01 | 2012-05-29
Analyte | Units | Results
TSS | mg/L | 41 | 29
Ammonia | mg/L | 0.05 | 0.05 | Ammonia - N (phenate)
COD | mg/L | 16 | 56
Ag | mg/L | 0 | 0
As | mg/L | 0 | 0.0025
Cd | mg/L | 0.0001 | 0.0001
Hg | mg/L | 1e-05 | 1e-05
Pb | mg/L | 0.0027 | 0.0037
Se | mg/L | 0 | 0
Cyanide | mg/L | 0.005 | 0.005
Outfall H-06 | Sample Date | 2012-01-11 | H-06 visual only effective 4/1/12.
Analyte | Units | Results
TSS | mg/L | 2
Ammonia | mg/L | 0.11 | Ammonia - N (phenate)
COD | mg/L | 130
Ag | mg/L | 0
As | mg/L | 0.0025
Cd | mg/L | 0.0001
Hg | mg/L | 1e-05
Pb | mg/L | 0.001
Se | mg/L | 0
Cyanide | mg/L | 0.005
Outfall H-06A | Sample Date | 2012-01-11 | 2012-03-01 | H-06A visual only effective 4/1/12.
Analyte | Units | Results
TSS | mg/L | 124 | 73
Ammonia | mg/L | 0.05 | 0.05 | Ammonia - N (phenate)
COD | mg/L | 99 | 75
Ag | mg/L | 0 | 0
As | mg/L | 0.0025 | 0.0025
Cd | mg/L | 0.0002 | 0.0005
Hg | mg/L | 2.183e-05 | 1e-05
Pb | mg/L | 0.0051 | 0.0027
Se | mg/L | 0 | 0
Cyanide | mg/L | 0.005 | 0.005
Outfall H-07A | Sample Date | 2012-01-11 | H-07A visual only effective 4/1/12.
Analyte | Units | Results
TSS | mg/L | 32
Ammonia | mg/L | 0.11 | Ammonia - N (phenate)
COD | mg/L | 210
Ag | mg/L | 0
As | mg/L | 0.0025
Cd | mg/L | 0.0001
Hg | mg/L | 1e-05
Pb | mg/L | 0.0029
Se | mg/L | 0
Cyanide | mg/L | 0.005
Outfall H-08 | Sample Date | 2012-01-11 | H-08 visual only effective 4/1/12.
Analyte | Units | Results
TSS | mg/L | 3
Ammonia | mg/L | 0.05 | Ammonia - N (phenate)
COD | mg/L | 99
Ag | mg/L | 0
As | mg/L | 0.0025
Cd | mg/L | 0
Hg | mg/L | 1e-05
Pb | mg/L | 0.001
Se | mg/L | 0
Cyanide | mg/L | 0.005
Outfall N-02 | Sample Date | 2012-01-11
Analyte | Units | Results
Ammonia | mg/L | 0.37 | Nitrate-Nitrite - N
Zn | mg/L | 0.0731
Outfall N-12A | Sample Date | 2012-03-01
Analyte | Units | Results
COD | mg/L | 51
Cu | mg/L | 0.0103
Pb | mg/L | 0.0079
Zn | mg/L | 0.1071
Outfall N-15 | Sample Date | 2012-03-01 | 2012-05-29 | N-15 visual only effective 7/1/12.
Analyte | Units | Results
TSS | mg/L | 49 | 19
Ammonia | mg/L | 0.05 | 0.13 | Ammonia - N (phenate)
COD | mg/L | 51 | 100
Ag | mg/L | 0 | 0
As | mg/L | 0.0025 | 0
Cd | mg/L | 0.0001 | 0.0001
Hg | mg/L | 1e-05 | 1e-05
Pb | mg/L | 0.0051 | 0.0043
Se | mg/L | 0 | 0
Cyanide | mg/L | 0.005 | 0.005

## Impaired Water Sampling
Data Table 4-9, 2012 National Pollutant Discharge Elimination System Stormwater Monitoring
Impaired Water Sample Data
Outfall | Sample Date | Result (MPN*/100mL)
A-08 | 2012-09-18 | >1600
B-10 | 2012-09-18 | >1600
E-01 | 2012-09-18 | 2
G-10A | 2012-06-11 | 1600 Col/100mL
G-21 | 2012-09-18 | >1600
H-06 | 2012-09-18 | 900
H-07A | 2012-09-18 | >1600
H-08 | 2012-09-18 | <2
N-14 | 2012-09-18 | 80
*most probable number (MPN)/100mL